58$(h1ii58$)	$(kurz9 Cubicle System variocell aluminium$)

KEMMLIT UK
Bays Platt
Skirmett

Henley on Thames

Oxfordshire

RG9 6TD
Telephone: 01491 638606
info@kemmlituk.com - www.kemmlituk.com

Construction:

Aluminium sandwich element, 30 mm thick,

corrosion-resistant with 3-component varnish coating (Crystal Coat),

with a static connection and vandalism-resistant

hardware. TÜV-approved (GS seal of approval).

Options:
variocell aluminium 3.1: Anodised aluminium profiles 
variocell aluminium 3.2: Powder-coated aluminium profiles

variocell aluminium 3.4: Stainless steel headrail

Height:
2000 mm, including 150 mm under panel clearance.

2135 mm, including 150 mm under panel clearance.

Other heights are also available.

- Suspended cubicle construction without supporting legs

- as an easy-to-clean alternative.

Support-optimised cubicle construction

with supporting legs set back in the partition.

Floor-to-ceiling construction for a maximum privacy.

Walls:
30 mm thick, corrosion-resistant aluminium sandwich

elements. Environmentally friendly 3-component varnish-coating

with a with a non-sensitive structure (Crystal Coat),

scratch- and UV-resistant according to DIN 53384 A.

The aluminium alloy is seawater-resistant according

to DIN 1725.

- The aluminium sheets are canted on all 4 sides.  The

- inside of the elements is filled with a warp-resistant

inlay. Additional screw-proof inlays in the sandwich elements

guarantee the long-lasting  and solid fixing of accessories.

Alternatively for better fire prevention, the inside of the

elements can be fitted with inflammable metal inlays.

Profiles:
All profiles are made of aluminium, rounded (2mm radius)

to reduce the risk of injury.

Warp-resistant, elegantly rounded headrail (55/43mm)

runs directly above the door front.

Wall-connection profiles made from u-channels to allow

for adjustments on site.

The headrail is also available as a smooth-surfaced

rectangular shape in aluminium (42/43mm).

The headrail is also available as a rectangular

shape in stainless steel (40/30 mm).

- The headrail can optionally be set back by

- 130mm rather than running directly above the door fronts.

Supporting legs:

20 mm in diameter, made entirely of stainless steel,

adjustable in height. Force-fit connection to the partition by

means of M12 screws.. The durable stainless

steel cover sleeve can easily be lifted for cleaning purposes.

Also available in corrosion-resistant aluminium.

Satin anodised with stainless steel core and

plate. Durable cover sleeve made of anodised alumunium.

Cover sleeve can easily  be lifted for cleaning purposes.

As a further option, made of corrosion-resistant

aluminium, powder-coated with stainless steel core

and stainless steel plate. Durable cover sleeve

made of colour-coordinated. nylon. Cover sleeve

can easily be lifted for cleaning purposes.

Doors:
Aluminium sandwich elements, 30 mm thick,

corrosion-resistant, (same construction as walls)

with inner, vertical aluminium profiles.

The doorstop profiles are made of aluminium with integrated

wsound absorption rubber stop to reduce closing noise.

Inward-opening doors can optionally be fitted with

safety finger protection profile on the side of the hinges

(with pivot hinge instead of standard hinges, maximum

opening angle = 100°).

- Hinges:

2 robust, 2–roller-rising-butt-edge hinges made

of aluminium,  20 mm in diameter, for automatic

closing of the door, colour satin anodised

- or power coated.

Alternatively 2 solid 2-roller edge hinges (20 mm in diameter),

made of aluminium satin anodised or powder-coated.

- Alternatively decorative 2-roller edge hinges made of

- stainless steel (12 mm in diameter).

- Furniture/hardware:

Single latch lock WC. Door knobs, red/white

indicator bolt with emergency release mechanism

made of satin anodised aluminium, in stainless

steel or impact- and shatter-resistant nylon.

As an option, double latch lock WC. Safety

lever handles, 23 mm in diameter. Red/white

indicator bolt with emergency release mechanism

made of natural anodised aluminium, stainless steel

or impact and shatter-resistant, colour-coordinated nylon.

Single turning knob made of satin anodised aluminium

with red/white indicator bolt.

Colours:
Colours of doors and walls according to the KEMMLIT colour chart.

- Profiles, hardware, supporting legs and accessories in

- the same consistent colours according to the cell colour range.

Environmental friendliness:
Only environmentally friendly materials without PVC and

CFCs must be used.

All prices ex works in Dusslingen. Taxes and duties

are unpaid, materials only. Installation and transportation

are not included.$)

58.10 			$)			$(menge0,000$) $(einhNo no.	$(d276$)$(ep.............$)	$(gb.............

- Further optional fittings at a surcharge:

- Sliding door

58.12 			$)			$(menge0,000$)  no.$(einhno. 	$(d276$)$(ep.............$)	$(gb.............

- Space-saving folding door

58.13 			$)			$(menge0,000$) $(einh no.	$(d276$)$(ep.............$)	$(gb.............

- Upper panel made of steel sheet

58.14 			$)			$(menge0,000$) $(einh no.	$(d276$)$(ep.............$)	$(gb.............

- Glass upper panels

58.15 			$)			$(menge0,000$) $(einh no.	$(d276$)$(ep.............$)	$(gb.............

- Swinging door (saloon door)

- 58.16 		                                                   $)			$(menge0,000$) $(einh no.	$(d276$)$(ep.............

$(lang Accessories for WC cubicles$(langAcec:

KEMMLIT door stopper hooks made of nylon 301$)/E

$$NNN

$(h1ii58.20$)			 $(menge0,000$) $(einh no $)	$(d276$)$(ep.............$)	$(gb.............

$)

$(langKEMMLIT-Wall hooks made of nylon 302$)/E

$$NNN

$(h1ii58.30$)			                             $(menge0,000$) $(einh no $)	$(d276$)$(ep.............$)	$(gb.............

$)

$(langKEMMLIT toilet roll holder made of nylon 308$)/E

$$NNN

$(h1ii58.40$)			                             $(menge0,000$) $(einh no $)	$(d276$)$(ep.............$)	$(gb.............

$)

$(langKEMMLIT replacement toilet roll holder made of nylon 309$)/E

$$NNN

$(h1ii58.50$)			                             $(menge0,000$) $(einh no $)	$(d276$)$(ep.............$)	$(gb.............$)

$(langKEMMLIT-WC-toilet brush set made of nylon 310
 $)/E$$NNN

$(h1ii58.60$)			                             $(menge0,000$) $(einh no $)	$(d276$)$(ep.............$)	$(gb.............

Accessories are also available in aluminium or stainless steel.

Accessories for changing room cubicles:

KEMMLIT-bench seating for changing room

cubicles made of HPL solid grade laminate. $)

$$NNN

$(h1ii58.70$)			                             $(menge0,000$) $(einh no. $)	$(d276$)$(ep.............$)	$(gb.............

$)

$(langKEMMLIT-Under bench central locking system

or over head central locking system or for the

simultaneous locking of both cubicles

with emergency release and clearly visible

vacant/occupied indicator (red/white)

$)

$$NNN

$(h1ii58.80$)			                             $(menge0,000$) $(einh no. $)	$(d276$)$(ep.............$)	$(gb.............

$)

$(langKEMMLIT door stopper hooks for

changing cubicles made of nylon no. 301

58.90$)			                             $(menge0,000$) $(einh no. $)	$(d276$)$(ep.............$)	$(gb.............

$)

$(langKEMMLIT crystal mirror for changing cubicles

with sealed edges 8 mm thick. Corners rounded 300 x 400 mm.

Gluing is prohibited.

Theft proof screw connection. $)/E

$$NNN

$(h1ii58.100$)			                             $(menge0,000$) $(einh no. $)	$(d276$)$(ep.............$)	$(gb.............

$)

$(langKEMMLIT shelf for changing cubicles

made of nylon no. 312,

Dimensions  300 x 50 mm.

Theft proof screw connection. $)/E

$$NNN

$(h1ii58.110$)			                             $(menge0,000$) $(einh no. $)	$(d276$)$(ep.............$)	$(gb.............

$)

$(langKEMMLIT anti-climb protection for changing cubicles. $)

$(h1ii58.120$)			                             $(menge0,000$) $(einh no. $)	$(d276$)$(ep.............$)	$(gb.............

/E$$GRUEnd

----------------------

Cubicle system$(kurz9Cubic variocell aluminium$)	$(gb.............

$)

============/E